<<Facility Name>>

Battery-operated Emergency Lights – Test Log for (Year): ______

A 30-second monthly functional test and a 90-minute annual test must be performed on each of the facility’s battery-operated emergency lights. Indicate the type of test conducted and initial each monthly entry. 		M = 30-second test		A = 90-minute test

| Unit Location | Date Installed | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Battery Replaced |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

ANY TOWN NURSING HOME

Battery-operated Emergency Lights – Test Log for: 2007

A 30-second monthly functional test and a 90-minute annual test must be performed on each of the facility’s battery-operated emergency lights. Indicate the type of test conducted and initial each monthly entry. 		M = 30-second test		A = 90-minute test

| Unit Location | Date Installed | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Battery Replaced |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| First Floor – South Wing | 8/12/88 | M 1/15 JJS | M 2/15 JJS | A 3/15 JJS | M 4/15 JJS | M 5/15 JJS | M 6/15 JJS | M 7/15 JJS | M 8/15 JJS | M 9/15 JJS | M 10/15 JJS | M 11/15 JJS | M 12/15 JJS | 11/12/99 |
| First Floor – North Wing | 8/12/88 | M 1/15 JJS | M 2/15 JJS | A 3/15 JJS | M 4/15 JJS | M 5/15 JJS | M 6/15 JJS | M 7/15 JJS | M 8/15 JJS | M 9/15 JJS | M 10/15 JJS | M 11/15 JJS | M 12/15 JJS | 4/6/97 |
| 2nd Floor – South Wing | 8/12/88 | M 1/15 JJS | M 2/15 JJS | M 3/15 JJS | M 4/15 JJS | M 5/15 JJS | A 6/15 JJS | M 7/15 JJS | M 8/15 JJS | M 9/15 JJS | M 10/15 JJS | M 11/15 JJS | M 12/15 JJS | 11/12/99 |
| 2nd Floor – North Wing | 8/12/88 | M 1/15 JJS | M 2/15 JJS | M 3/15 JJS | M 4/15 JJS | M 5/15 JJS | A 6/15 JJS | M 7/15 JJS | M 8/15 JJS | M 9/15 JJS | M 10/15 JJS | M 11/15 JJS | M 12/15 JJS | 11/12/99 |
| Emergency generator room – First Floor | 4/21/05 | M 1/15 JJS | M 2/15 JJS | M 3/15 JJS | M 4/15 JJS | M 5/15 JJS | M 6/15 JJS | M 7/15 JJS | M 8/15 JJS | M 9/15 JJS | M 10/15 JJS | M 11/15 JJS | A 12/15 JJS |  |
| Exit Stair – South Wing | 8/12/88 | M 1/15 JJS | M 2/15 JJS | M 3/15 JJS | M 4/15 JJS | M 5/15 JJS | M 6/15 JJS | M 7/15 JJS | M 8/15 JJS | A 9/15 JJS | M 10/15 JJS | M 11/15 JJS | M 12/15 JJS | 11/12/99 |
| Exit Stair – North Wing | 8/12/88 | M 1/15 JJS | M 2/15 JJS | M 3/15 JJS | M 4/15 JJS | M 5/15 JJS | M 6/15 JJS | M 7/15 JJS | M 8/15 JJS | A 3/15 JJS | M 10/15 JJS | M 11/15 JJS | M 12/15 JJS | 11/12/99 |